## 1
Наименование товара | Кол-во товара | Наименование модуля | Наименование опции | Кол-во
DELL EMC ME5012 - [EMEA_ME5012] | 1
|  | PV ME5012 | Dell ME5012 Storage Array | 1
|  | SHIPPING | ME5012 Shipping EMEA1, No Reg Lbl | 1
|  | Regulatory | MOD,LBL,REG,EMFP,E09J | 1
|  | Controller Cards | 32Gb FC Type-B 8 Port Dual Controller | 1
|  | Hard Drives | 20TB HDD SAS ISE 12Gbps 7.2K 512e 3.5in Hot-Plug, AG Drive | 12
|  | 16G/SFP and 32G/SFP+ FC Optics and Cables | 8x SFP+, FC32, 32GB | 1
|  | Rack Rails | Rack Rails 2U | 1
|  | Power Supply | Power Supply, 580W, Redundant, WW | 1
|  | Multi-Mode FC LC-LC Cables | Multi-Mode Fibre Channel Cable LC-LC 2 Meters | 8
|  | Bezel | ME Series 2U Bezel | 1
|  | Power Cords | Rack Power Cord 2M (C13/C14 10A) | 2
|  | Dell Services: Extended Service | Partner Support-L2 L3 Support with Advance Parts Replacement, 36 Month(s) | 1
|  | Dell Services: Hardware Support | Parts Only Warranty 36 Months, 36 Month(s) | 1
|  | Dell Services: Deployment Services | No Installation Service Selected (Contact Sales rep for more details) | 1
|  | Dell Services: Education Services | Education Services Dell PowerVault ME5 Installation and Administration On Demand Training | 1
PowerEdge R650 | 3
|  | Base | PowerEdge R650 Server | 1
|  | FRONT STORAGE | Chassis with No Backplane | 1
|  | BACKPLANE | No Backplane | 1
|  | REAR STORAGE | No Rear Storage | 1
|  | Trusted Platform Module | Trusted Platform Module 2.0 V3 | 1
|  | Chassis Configuration | No HD, No Backplane, 2CPU | 1
|  | Processor | Intel® Xeon® Gold 6342 2.8G, 24C/48T, 11.2GT/s, 36M Cache, Turbo, HT (230W) DDR4-3200 | 1
|  | Additional Processor | Intel® Xeon® Gold 6342 2.8G, 24C/48T, 11.2GT/s, 36M Cache, Turbo, HT (230W) DDR4-3200 | 1
|  | Processor Thermal Configuration | Heatsink for 2 CPU configuration (CPU more than 165W) | 1
|  | Memory Configuration Type | Performance Optimized | 1
|  | Memory DIMM Type and Speed | 3200MT/s RDIMMs | 1
|  | Memory Capacity | 16GB RDIMM, 3200MT/s, Dual Rank | 16
|  | RAID Configuration | C0, Diskless Configuration (No RAID, No Controller) | 1
|  | RAID/Internal Storage Controllers | No Controller | 1
|  | Hard Drives | No Hard Drive | 1
|  | BIOS and Advanced System Configuration Settings | Power Saving BIOS Setting | 1
|  | Embedded Systems Management (Multi) | iDRAC9, Enterprise 15G | 1
|  | Embedded Systems Management (Multi) | OpenManage Enterprise Advanced | 1
|  | Fans | 4 Very High Performance Fans | 1
|  | Power Supply | Dual, Hot-plug, Power Supply Fault Tolerant Redundant (1+1), 800W, Mixed Mode,NAF | 1
|  | Power Cords | Rack Power Cord 2M (C13/C14 10A) | 2
|  | PCIe Riser | Riser Config 3, 3/4 Length, Full Height, 2 x16 Slots, SW GPU Capable | 1
|  | Motherboard | PowerEdge R650 Motherboard with Broadcom 5720 Dual Port 1Gb On-Board LOM | 1
|  | OCP 3.0 Network Adapters | Broadcom 57454 Quad Port 10GbE Base-T Adapter, OCP NIC 3.0 | 1
|  | Quick Sync | No Quick Sync | 1
|  | Password | iDRAC,Factory Generated Password | 1
|  | Fibre Channel Adapters | Emulex LPE 35002 Dual Port 32Gb Fibre Channel HBA, PCIe Full Height | 1
|  | Group Manager | iDRAC Group Manager, Enabled | 1
|  | Bezel | LCD Bezel for x8 and x10 Chassis | 1
|  | Boot Optimized Storage Cards | No BOSS Card | 1
|  | Operating System | No OS, No Utility Partition | 1
|  | OS Media Kits | No Media Required | 1
|  | Virtualization Software and Support | VMware vSphere 8 Enterprise Plus for 1 CPU, (max 32 cores/CPU socket), 3YR VMware SNS | 2
|  | Additional Software | OpenManage Integration for VMware vCenter - 1 host increment, 3 year license digitally fulfilled | 1
|  | Rack Rails | ReadyRails Sliding Rails With Cable Management Arm | 1
|  | SHIPPING | PowerEdge R650 Shipping EMEA1 (English/French/German/Spanish/Russian/Hebrew) | 1
|  | Shipping Material | R650 Ship 8x2.5 | 1
|  | Regulatory | PowerEdge R650 CE, CCC, Marking, No BIS Marking | 1
|  | Shipping/Order information | Enterprise Order - EMEA | 1
|  | Dell Services: Hardware Support | Parts Only Warranty 12Months, 12 Month(s) | 1
|  | Dell Services: Extended Service | Partner Support-L2 L3 Support with Advance Parts Replacement, 36 Month(s) | 1
|  | Dell Services: Deployment Services | No Installation Service Selected (Contact Sales rep for more details) | 1
|  | Anti Theft Device & Asset Tagging | Asset Tag - ProSupport (Website, barcode, Onboard MacAddress) | 1
|  | Configuration Services Asset Report | Configuration Services, Standard ISG System Report, Deliver Via Email | 1
|  | Shipping Box Labels - Standard | Order Configuration Shipbox Label (Ship Date, Model, Processor Speed, HDD Size, RAM) | 1
VMware Software | 1
|  | VMware Software | VMware vCenter Server Standard for vSphere (Per Instance) | 1
|  | Data Center Virtualization and Cloud Infrastructur | VMware vCenter Server 8 Standard for vSphere 8 (Per Instance), 3YR VMware SNS | 1
|  | Order Information | Enterprise Order - EMEA | 1
|  | ProSupport Services | ProSupport for Software, Dell VMware, 3 Years | 1
Connectrix DS-7720B | 2
|  | Connectrix DS-7720B | Connectrix DS-7720B 24/64P switch w/rear-to-front airflow (includes 24x32Gb SFPs and rack mount kit) | 1
|  | Dell Services: Hardware Support | Parts Only Warranty 36Months, 36 Month(s) | 1
|  | Dell Services: Extended Service | Partner Support-L2 L3 Support with Next Business Day Parts and Remote Monitoring, 36 Month(s) | 1
|  | Dell Services: Deployment Services | INSTALL DECLINED- switch deployment performed by Customer-3rd party | 1
|  | Multimode Fiber Cables | OM4 LC/LC Multi Mode Fiber Cable (optics required), 3 Meter | 24
|  | Power Cords | QTY 2 Connectrix C14-TO-C13 3M INTERNAL CAB POWER CORDS-B | 1
Unity XT Hybrid New Solution - EMEA - [EMC_UNITYXTHYBRID_EMEA_12] | 1
Unity 480 Hybrid DPE - EMEA | 1
|  | Unity XT 480 | Unity XT 480 DPE 25x2.5 Customer Supplied Rack (High Line Power 200V-240V) | 1
|  | Operating Environment | Non TLA Order | 1
|  | Starter Pack Drives | Unity SYSPACK 4X1.8TGB 10K SAS 25X2.5 | 1
|  | Additional Drives | Unity 1.8TB 10K SAS 25X2.5 DRIVE | 21
|  | SPIO | Unity 2X4 port IO 32GB FC | 1
|  | Power Cords | Pair of C13/C14 cables (Highline Power) or C19/C20 cables (480/680 Lowline Power) included with DPE | 1
|  | Install Kits | Unity XT HFA Field Install Kit | 1
|  | 4 Port Cards | Unity 2X4 Port Card 10GBaseT | 1
|  | Base Warranty | Parts Only Warranty 36Months, 36 Month(s) | 1
|  | Extended Service | Partner Support-L2 L3 Support, 36 Month(s) | 1
|  | Dell Services:Deployment Services | No Installation Service Selected (Contact Sales rep for more details) | 1
|  | Dell Services: Education Services | Education Services Dell Unity XT Installation and Administration On Demand Training | 1
Dell EMC Unity XT Software HFA - EMEA | 1
|  | Unity XT Software | Unity XT HFA Software Only Virtual Base - SWAAA | 1
|  | Operating Environment | Unity HFA Base Software=IC | 1
|  | Sftwr Svcs - Perpetual (VP) | Partner L2-L3 Unity Hybrid Sftwr Spt-Maint, 36 Month(s) | 1
|  | TLA/None TLA Validation | Non TLA Order | 1
Unity 25x2.5 Hybrid DAE - EMEA | 1
|  | Unity XT HFA 25x2.5 DAE (Pair of SAS Cables Includ | Unity XT 2U 25x2.5 DAE Customer Supplied Rack (Pair of SAS Cables Included) | 1
|  | Hard Drives | Unity 1.8TB 10K SAS 25X2.5 DRIVE | 25
|  | TLA | Non TLA Order | 1
|  | Base Warranty | Parts Only Warranty 36Months, 36 Month(s) | 1
|  | Extended Service | Partner Support-L2 L3 Support, 36 Month(s) | 1
|  | Dell Services:Deployment Services | No Installation Service Selected (Contact Sales rep for more details) | 1
AppSync Basic Software for Hybrid Arrays | 1
|  | AppSync Software for Hybrid Arrays | AppSync Unity Hybrid | 1
|  | AppSync Software for Hybrid Arrays | AppSync Basic for Unity 480=IC | 1
|  | Dell Services: Deployment Services | No Installation Service Selected (Contact Sales rep for more details) | 1
|  | Sftwr Svcs - Perpetual (VP) | ProSupport Next Business Day Appsync for Unity Sftwr Spt-Maint, 36 Month(s) | 1
PowerEdge R650 - Full Configuration - [EMEA_R650] (2) | 1
|  | Base | PowerEdge R650 Server | 1
|  | FRONT STORAGE | 8x2.5 Front Storage | 1
|  | BACKPLANE | SAS/SATA Backplane | 1
|  | REAR STORAGE | No Rear Storage | 1
|  | Trusted Platform Module | Trusted Platform Module 2.0 V3 | 1
|  | Chassis Configuration | 2.5" Chassis with up to 8 Hard Drives (SAS/SATA), 3 PCIe Slots, 2 CPU | 1
|  | Processor | Intel® Xeon® Silver 4316 2.3G, 20C/40T, 10.4GT/s, 30M Cache, Turbo, HT (150W) DDR4-2666 | 1
|  | Additional Processor | Intel® Xeon® Silver 4316 2.3G, 20C/40T, 10.4GT/s, 30M Cache, Turbo, HT (150W) DDR4-2666 | 1
|  | Processor Thermal Configuration | Heatsink for 2 CPU configuration (CPU less than or equal to 165W) | 1
|  | Memory Configuration Type | Performance Optimized | 1
|  | Memory DIMM Type and Speed | 3200MT/s RDIMMs | 1
|  | Memory Capacity | 16GB RDIMM, 3200MT/s, Dual Rank | 8
|  | RAID Configuration | C3, RAID 1 for 2 HDDs or SSDs (Matching Type/Speed/Capacity) | 1
|  | RAID/Internal Storage Controllers | Front PERC H755 Front Load | 1
|  | Hard Drives | 480GB SSD SATA Mixed Use 6Gbps 512e 2.5in Hot-Plug, S4620 | 2
|  | BIOS and Advanced System Configuration Settings | Performance BIOS Setting | 1
|  | Embedded Systems Management (Multi) | iDRAC9, Enterprise 15G | 1
|  | Embedded Systems Management (Multi) | Server Secured Component Verification | 1
|  | Fans | 4 High Performance Fans for 2 CPU | 1
|  | Power Supply | Dual, Hot-plug, Power Supply Fault Tolerant Redundant (1+1), 800W, Mixed Mode,NAF | 1
|  | Power Cords | Rack Power Cord 2M (C13/C14 10A) | 2
|  | PCIe Riser | Riser Config 0, 2CPU, Half Length, Low Profile, 3 x16 Slots, SW GPU Capable | 1
|  | Motherboard | PowerEdge R650 Motherboard with Broadcom 5720 Dual Port 1Gb On-Board LOM, Ti | 1
|  | OCP 3.0 Network Adapters | Broadcom 57416 Dual Port 10GbE BASE-T Adapter, OCP NIC 3.0 | 1
|  | Quick Sync | No Quick Sync | 1
|  | Password | iDRAC,Factory Generated Password | 1
|  | Fibre Channel Adapters | QLogic 2772 Dual Port 32Gb Fibre Channel HBA, PCIe Low Profile, V2 | 1
|  | Group Manager | iDRAC Group Manager, Enabled | 1
|  | Bezel | Standard Bezel for x8 and x10 Chassis | 1
|  | Boot Optimized Storage Cards | No BOSS Card | 1
|  | Operating System | No Operating System | 1
|  | OS Media Kits | No Media Required | 1
|  | Rack Rails | ReadyRails Sliding Rails With Cable Management Arm | 1
|  | SHIPPING | PowerEdge R650 Shipping EMEA1 (English/French/German/Spanish/Russian/Hebrew) | 1
|  | Shipping Material | R650 Ship 8x2.5 | 1
|  | Regulatory | PowerEdge R650 CCC Marking, No BIS or CE Marking | 1
|  | Shipping/Order information | Enterprise Order - EMEA | 1
|  | Dell Services: Hardware Support | Parts Only Warranty 12Months, 12 Month(s) | 1
|  | Dell Services: Extended Service | Partner Support-L2 L3 Support with Advance Parts Replacement, 36 Month(s) | 1
|  | Dell Services: Deployment Services | No Installation Service Selected (Contact Sales rep for more details) | 1
|  | Anti Theft Device & Asset Tagging | Asset Tag - ProSupport (Website, barcode, Onboard MacAddress) | 1
|  | Configuration Services Asset Report | Configuration Services, Standard ISG System Report, Deliver Via Email | 1
|  | Shipping Box Labels - Standard | Order Configuration Shipbox Label (Ship Date, Model, Processor Speed, HDD Size, RAM) | 1
NTI Rackmount LCD Drawer w/ 16-port High Density USB KVM | 2
|  | Power | 110 or 220 VAC at 50 or 60 Hz via IEC connector. (Country-specific power supply cable included.)
Drawer
|  | Adjustability | The drawer is adjustable to various rack depths from 24" deep to 40" deep.
|  | Locking | The drawer locks into place when open to prevent it from sliding in and out of the rack.
|  | Rack ears | Rack ears are available for two post style telco rack mounting, select part number RL-T15-TEL.
Environmental
|  | Operating Temperature | 32°F to 104°F (0°C to 40°C)
|  | Storage Temperature | -4°F to 140°F
|  | Operating & Storage Relative Humidity | 20 to 90% non-condensing RH
|  | Regulatory Approvals | CE, RoHS
| 1 | Windows OS | Windows Server 2022 Standard, 16 cores
Note on B163: Need to consider